## Summary
DICOM Tag | DICOM Attribute Name | localizer_bh_fix | localizer_bh_ISO | T2w_abdomen_haste_tra_mbh | T1w_abdomen_dixon_cor_bh | PC_RenalArtery_Right_EcgTrig_fb | PC_RenalArtery_Left_EcgTrig_fb | PC_RenalArtery_Right_EcgTrig_fb_120 | PC_RenalArtery_Left_EcgTrig_fb_120 | T2star_map_pancreas_tra_mbh | T1w_kidneys_cor-oblique_mbh | T1map_kidneys_cor-oblique_mbh | T2map_kidneys_cor-oblique_mbh | T2star_map_kidneys_cor-oblique_mbh | IVIM_kidneys_cor-oblique_fb | DTI_kidneys_cor-oblique_fb | MT_OFF_kidneys_cor-oblique_bh | MT_ON_kidneys_cor-oblique_bh | ASL_planning_bh | ASL_kidneys_pCASL_cor-oblique_fb | DCE_kidneys_cor-oblique_fb | T1w_abdomen_post_contrast_dixon_cor_bh
eg. (0008, 0005) | eg. Specific Character Set | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank) | (Value or Blank)
Decide on a format for each tab's name => %Manufacturer-%InstitutionAddress-%SoftwareVersion?
Info for these tables of parameters: | Patient ID | AcquisitionDate
Siemens-Leeds | 4128005 | 20190115
Siemens-Exeter | 3128-542 | 20200316
Siemens-Bordeaux-Prisma | 2128_005 | 20190424
Philips-Ingenia-3T-Tricase | 1128009 1 | 20200307
Philips-Achieva-3T-Turku | 5128-011 | 20190517
GE-Turku | 5128-030 | 20200323

## Universite de Bordeaux
DICOM Tag | DICOM Attribute Name | DTI_kidneys_cor-oblique_fb | DCE_kidneys_cor-oblique_fb
(0008, 0070) | Manufacturer | SIEMENS | SIEMENS
(0008, 0080) | Institution Name | Universite de Bordeaux | Universite de Bordeaux
(0008, 1030) | Study Description | PROTOCOLES^BEATDKD | PROTOCOLES^BEATDKD
(0008, 1090) | Manufacturer's Model Name | Prisma | Prisma
(0018, 1020) | Software Versions | syngo MR E11 | syngo MR E11
(0018, 0087) | Magnetic Field Strength | 3 | 3
(0018, 0024) | Sequence Name | ep_b
(0018, 0086) | Echo Number(s) | 1 | 1
(0018, 1030) | Protocol Name | DTI_kidneys_cor-oblique_fb | DCE_kidneys_cor-oblique_fb
(0018, 0010) | Contrast/Bolus Agent |  | Dotarem

## Ospedale "Panico" Tricase
DICOM Tag | DICOM Attribute Name | DTI_kidneys_cor-oblique_fb | DCE_kidneys_cor-oblique_fb
(0008, 0070) | Manufacturer | Philips Medical Systems | Philips Medical Systems
(0008, 0080) | Institution Name | Ospedale "Panico" Tricase | Ospedale "Panico" Tricase
(0008, 1030) | Study Description | RM ADDOME SUPERIORE CON MDC 3T * PROGETTO iBEAT - | RM ADDOME SUPERIORE CON MDC 3T * PROGETTO iBEAT -
(0008, 1090) | Manufacturer's Model Name | Ingenia | Ingenia
(0018, 1020) | Software Versions
(0018, 0087) | Magnetic Field Strength | 3 | 3
(0018, 1030) | Protocol Name | Reg - DTI_3b_RT 20 dir | DCE_kidneys_cor-oblique_fb_wet_pulse

## TURKU PET centre
DICOM Tag | DICOM Attribute Name | DTI_kidneys_cor-oblique_fb | DCE_kidneys_cor-oblique_fb
(0008, 0070) | Manufacturer | Philips Medical Systems | Philips Medical Systems
(0008, 0080) | Institution Name | TURKU PET centre | TURKU PET centre
(0008, 1030) | Study Description | ALAVATSAN VKMT | ALAVATSAN VKMT
(0008, 1010) | Station Name | PETMR | PETMR
(0008, 1090) | Manufacturer's Model Name | Ingenuity | Ingenuity
(0018, 1020) | Software Versions
(0018, 0087) | Magnetic Field Strength | 3 | 3
(0018, 1030) | Protocol Name | WIP DTI-kidney-coronal-oblique-FB SENSE | WIP DCE-kidney-coronal-oblique-FB SENSE
(2001, 1020) | [Scanning Technique Description MR] | DwiSE | T1TFE
(2001, 10c8) | Private tag data | BEAT_DKD_10.10 | BEAT_DKD_10.10

## TYKS PET KESKUS
DICOM Tag | DICOM Attribute Name | DTI_kidneys_cor-oblique_fb | DCE_kidneys_cor-oblique_fb
(0008, 0070) | Manufacturer | GE MEDICAL SYSTEMS | GE MEDICAL SYSTEMS
(0008, 0080) | Institution Name | TYKS PET KESKUS | TYKS PET KESKUS
(0008, 1030) | Study Description | ALAVATSAN VKMT | ALAVATSAN VKMT
(0008, 1010) | Station Name | PET1MR03 | PET1MR03
(0008, 1090) | Manufacturer's Model Name | SIGNA PET/MR | SIGNA PET/MR
(0018, 1020) | Software Versions
(0018, 0087) | Magnetic Field Strength | 3 | 3
(0018, 1030) | Protocol Name | BEAT DKDv3 | BEAT DKDv3
(0019, 109c) | [Pulse Sequence Name] | epi2 | DISCO